# Brain Tumour Detection and Classification Using Deep Learning: A Comprehensive Comparative Study of CNN and Transformer Architectures

Parth Mital¹, Ved Lawand1, Dr. Biji C L1

¹School of Computer Science and Engineering, Vellore Institute of Technology, Vellore, India

Corresponding author email: parth.mital2023@vitstudent.ac.in, ved.lawand2023@vitstudent.ac.in

Faculty supervisor email: biji.cl@vit.ac.in

## Abstract

Brain tumours represent one of the most serious neurological conditions worldwide, with early and accurate diagnosis being crucial for treatment success and patient survival. Magnetic Resonance Imaging (MRI) serves as the primary diagnostic tool; however, manual interpretation is time-consuming, subject to inter-observer variability, and requires specialised expertise that may not be universally available. This research presents a comprehensive comparative study of nine state-of-the-art deep learning architectures for both binary brain tumour detection and multi-class tumour classification (glioma, meningioma, and pituitary tumours). We evaluate classical CNNs (ResNet50, VGG16, DenseNet121), efficient CNNs (EfficientNetB0, MobileNetV3-Large, InceptionV3), and transformer-based models (ViT-B/16, Swin Transformer Base, CoaTNet-0) under standardised experimental conditions. Rigorous preprocessing including perceptual hashing for deduplication removed 19.3% near-identical images from the combined dataset of 5,828 MRI images, resulting in 4,705 unique samples for multi-class classification. For binary detection, a separate dataset of 3,253 images was used. All models were pretrained on ImageNet and fine-tuned using AdamW optimisation, cosine annealing scheduling, and mixed precision training on dual NVIDIA Tesla T4 GPUs. For binary detection, InceptionV3 achieved 99.39% accuracy with perfect AUC (1.0000), while CoaTNet-0 and EfficientNetB0 achieved 99.59% accuracy. For multi-class classification, InceptionV3 and Swin-Base achieved the highest test accuracy of 98.58% with AUC exceeding 0.999. EfficientNetB0 demonstrated exceptional parameter efficiency, achieving 97.59% accuracy with only 5.3 million parameters. Our findings demonstrate that modern deep learning architectures, particularly those incorporating attention mechanisms and multi-scale processing, achieve clinically viable accuracy for brain tumour analysis, with implications for automated screening systems in resource-constrained healthcare settings.

Keywords: Brain tumour detection, deep learning, convolutional neural networks, vision transformers, medical image classification, MRI, transfer learning.

## 1. Introduction

### 1.1 Background Context

Brain tumours represent abnormal and uncontrolled proliferations of cells within the brain or the central nervous system. These growths can be benign or malignant, but irrespective of their nature, they pose significant health risks due to the confined space within the skull and the critical functions performed by the brain. According to the American Brain Tumour Association, approximately 90,000 persons are diagnosed with primary brain tumours annually in the United States alone, with similar incidence patterns observed across the globe. In the Indian context, the precise epidemiological burden remains under-documented, but tertiary care centres in metropolitan cities such as Mumbai, Delhi, Bengaluru, and Chennai report thousands of new cases every year. The three most common types of primary brain tumours are: gliomas, which arise from glial cells and represent approximately 30% of all brain tumours; meningiomas, which develop from the meninges layers surrounding the brain and are typically benign; and pituitary tumours, which originate in the pituitary gland and affect hormonal regulation [1], [2].

Magnetic Resonance Imaging (MRI) has emerged as the primary non-invasive diagnostic tool for brain tumour detection and classification. Unlike computed tomography (CT) scans, MRI provides superior soft tissue contrast, does not use ionising radiation, and can acquire images in multiple planes and contrast weightings (T1-weighted, T2-weighted, FLAIR, and diffusion-weighted sequences). This versatility makes MRI indispensable for characterising tumour location, size, margins, oedema, and relationship with adjacent critical structures. However, manual interpretation of MRI scans presents several formidable challenges. First, it is highly time-consuming: a single comprehensive brain MRI study may contain hundreds of slices, and a specialist radiologist may require 15 to 30 minutes for thorough evaluation. Second, interpretation is subject to significant inter-observer and intra-observer variability, meaning that even experienced radiologists may disagree on tumour type or boundaries. Third, specialised expertise in neuroradiology is not universally available, particularly in rural and semi-urban districts of India, where the radiologist-to-population ratio is alarmingly low. Fourth, diagnostic delays caused by workforce shortages and uneven distribution of specialists can adversely affect patient outcomes, as early intervention is often critical for brain tumour management [3], [4].

The advent of deep learning has revolutionised medical image analysis over the past decade. Deep learning models, particularly convolutional neural networks (CNNs), can automatically learn hierarchical representations of visual features directly from pixel data, eliminating the need for handcrafted feature engineering that limited earlier machine learning approaches. This capability offers the potential for automated, consistent, and rapid diagnosis of brain tumours from MRI scans. Convolutional neural networks have traditionally dominated this domain, with architectures such as ResNet, VGG, DenseNet, Inception, EfficientNet, and MobileNet establishing benchmark performance on various image classification tasks. More recently, transformer-based architectures originally developed for natural language processing have been adapted for vision tasks. These include the Vision Transformer (ViT), Swin Transformer, and Co-scale Conv-Attentional Network (CoaTNet). These models offer alternative approaches to capturing global image context through self-attention mechanisms, which may be particularly valuable for medical images where understanding the relationship between a tumour and its surrounding anatomical structures is crucial [5]–[8].

### 1.2 Problem Statement and Research Gap

While numerous research studies have individually demonstrated the effectiveness of deep learning models for brain tumour detection and classification, comprehensive comparative analyses that span multiple architectural families under strictly standardised conditions remain notably limited. This absence of systematic comparison creates significant difficulties for researchers and clinicians who must select appropriate models for deployment. The key gaps identified in the existing literature are elaborated below.

Lack of Standardised Comparison: Individual studies often employ different datasets, preprocessing pipelines, augmentation strategies, and evaluation metrics. As a result, comparing reported performance figures across publications is fraught with difficulty and can be positively misleading. For instance, one study reporting 99% accuracy on a small, homogeneous dataset cannot be meaningfully compared with another reporting 97% accuracy on a larger, more diverse dataset. Without identical experimental conditions, apparent performance differences may reflect dataset characteristics or implementation details rather than genuine architectural advantages [9], [10].

Limited Transformer Evaluation: The overwhelming majority of existing research focuses exclusively on convolutional neural networks. Transformer-based architectures, despite their remarkable success in natural language processing and general computer vision, remain under-explored for brain tumour detection. The applicability of self-attention mechanisms to medical imaging tasks, where local texture features are often critical but global anatomical context also matters, has not been systematically investigated. This gap is particularly significant because transformers lack the inherent inductive biases (locality and translation equivariance) that make CNNs sample-efficient, and it remains unclear whether this trade-off benefits or harms performance on medical imaging datasets of moderate size.

Absence of Unified Training Protocols: When different models are compared in the literature, training hyperparameters such as learning rate, optimisation algorithm, batch size, number of epochs, and regularisation strategies are rarely held constant across architectures. This confounds architectural differences with implementation variations. A model that appears superior might simply have been trained with more favourable hyperparameters, while another model might have been disadvantaged by suboptimal choices. Standardised training protocols are essential for fair comparison.

Data Leakage Concerns: Many studies inadvertently include near-duplicate or identical images across training, validation, and test splits, particularly when combining datasets from multiple public sources. This practice leads to artificially inflated performance metrics that do not reflect true generalisation capability. When a model has effectively seen a test image (or a very close variant) during training, its performance on that image no longer measures genuine learning but rather memorisation. This problem is especially severe in brain tumour research because many public datasets derive from the same original sources (such as the Cheng dataset or the Figshare collection).

Incomplete Deduplication: Most studies either do not address the issue of near-duplicate images at all or employ only simple exact-match deduplication based on file names or cryptographic hashes. Exact matching fails to identify images that have been resized, recompressed, rotated slightly, or subjected to minor contrast adjustments. Perceptual hashing, which generates robust fingerprints that tolerate such modifications, remains underutilised in medical imaging research. Without rigorous deduplication, reported accuracies may overstate true generalisation by substantial margins.

### 1.3 Significance and Urgency

The clinical significance of accurate brain tumour diagnosis cannot be overstated. Delayed or incorrect diagnosis can lead to reduced treatment options, poorer prognosis, increased healthcare costs, and substantially decreased quality of life for patients and their families. Automated detection systems that achieve human-level or superhuman accuracy could produce multiple benefits: they could reduce diagnostic delays by providing immediate preliminary assessments; offer decision support in underserved areas where specialist radiologists are unavailable; enable more consistent screening by eliminating inter-observer variability; and free radiologist time for complex cases that truly require expert judgment [13], [14].

In the Indian healthcare context, the urgency is particularly acute. According to recent workforce assessments, India has approximately one radiologist per 100,000 population, compared to the recommended ratio of one per 10,000. This shortfall of nearly 90% means that the vast majority of district hospitals and community health centres operate without any radiologist on staff. Furthermore, even where radiologists are present, neuroradiology subspecialty training is rare, and expertise in brain tumour interpretation is concentrated in a few tertiary care institutions. Automated diagnostic support systems therefore have particular relevance for bridging healthcare access gaps across India’s diverse geography, from densely populated urban slums to remote rural villages in states such as Uttar Pradesh, Bihar, Madhya Pradesh, and the North-Eastern regions [15].

### 1.4 Research Objectives

This study has been designed with the following specific objectives in mind.

- To implement nine diverse deep learning architectures spanning classical CNNs (ResNet50, VGG16, DenseNet121), efficient CNNs (EfficientNetB0, MobileNetV3-Large, InceptionV3), and transformer-based models (ViT-B/16, Swin Transformer Base, CoaTNet-0) for both binary brain tumour detection and multi-class tumour classification.

- To establish a standardised evaluation framework with consistent data splits, preprocessing protocols (including perceptual hashing for rigorous deduplication), and training hyperparameters across all models.

- To compare model performance using clinically relevant metrics including accuracy, AUC-ROC, cross-entropy loss, and computational efficiency measures such as parameter count and training speed.

- To analyse architectural trends and identify which specific design principles (residual connections, dense connections, multi-scale processing, attention mechanisms, or neural architecture search) contribute most to brain tumour analysis performance.

- To provide practical, evidence-based recommendations for model selection in different clinical deployment scenarios, considering the trade-off between diagnostic accuracy and computational efficiency.

- To release fully reproducible code and detailed results to facilitate future research, external validation, and clinical translation.

### 1.5 Paper Organisation

The remainder of this paper is organised as follows. Section 2 reviews relevant literature on traditional machine learning approaches, convolutional neural network architectures, transformer-based models, and previous brain tumour classification studies, highlighting the specific gaps that this research addresses. Section 3 details our methodology comprehensively, including dataset preparation, perceptual hashing for deduplication, image preprocessing and augmentation, model architecture specifications, and experimental setup including hardware, software, and hyperparameters. Section 4 presents and discusses the results for both binary detection and multi-class classification tasks, including training progression analysis, final test performance, and efficiency comparisons. Section 5 addresses limitations of the current study and proposes directions for future work, including dataset expansion, model improvements, and clinical validation. Section 6 covers ethical considerations for clinical deployment in the Indian and global contexts, including fairness, bias, and regulatory pathways. Section 7 concludes the paper with a summary of key findings, clinical implications, and final remarks.

## 2. Literature Review

### 2.1 Traditional Machine Learning Approaches

Early attempts at automated brain tumour detection relied on handcrafted feature extraction combined with classical machine learning classifiers. Common approaches included texture-based features such as Grey-Level Co-occurrence Matrix (GLCM) and Local Binary Patterns (LBP); wavelet transforms including Discrete Wavelet Transform (DWT) for multi-resolution analysis; morphological features describing shape, size, and boundary characteristics; and classifiers such as Support Vector Machines (SVM), Random Forests, and k-Nearest Neighbors [16], [17].

Zacharaki et al. [18] achieved approximately 85% accuracy using texture features and SVM classification on a small dataset of 80 images for tumour type discrimination. Cheng et al. [19] proposed a tumour region augmentation method achieving 90% accuracy using intensity, texture, and shape features with SVM classification on 3064 MRI images. While these approaches established feasibility, they were limited by feature engineering constraints, poor generalisation to diverse datasets, and inability to learn hierarchical representations automatically.

### 2.2 Convolutional Neural Networks

The breakthrough of AlexNet in 2012 catalysed deep learning adoption in medical imaging. Subsequent CNN architectures progressively improved performance through architectural innovations.

ResNet Family (2015): He et al. [20] introduced residual connections enabling training of very deep networks by addressing the vanishing gradient problem. ResNet50 became a benchmark for medical image classification, with studies reporting 95-98% accuracy for brain tumour detection. Seetha and Raja [21] achieved 97.5% accuracy using ResNet50 with transfer learning on 253 MRI images.

VGG Architecture (2014): Simonyan and Zisserman [22] demonstrated that increasing depth with small convolutional filters (3×3) improves performance. However, VGG16's high parameter count (138 million) makes it computationally expensive and prone to overfitting on smaller medical datasets. Khan et al. [23] reported 98.69% accuracy using VGG16 on 3,064 images, though with significant computational overhead.

DenseNet (2017): Huang et al. [24] proposed dense connections where each layer receives inputs from all preceding layers, improving gradient flow and parameter efficiency through feature reuse. DenseNet121 has shown strong performance in medical imaging tasks with reported accuracies of 96-98%. Noreen et al. [25] achieved 99.51% accuracy using DenseNet121 with a concatenation-based approach.

Inception Architecture (2015–2016): Szegedy et al. [26] introduced parallel convolutions of different sizes (1×1, 3×3, 5×5), allowing the network to capture features at multiple scales simultaneously. InceptionV3 achieved 97.5% accuracy in brain tumour studies according to Deepak and Ameer [27], with Rehman et al. [28] reporting 99.34% accuracy using transfer learning.

EfficientNet (2019): Tan and Le [29] developed a systematic approach to scaling network dimensions (depth, width, resolution) using neural architecture search, achieving state-of-the-art accuracy with significantly fewer parameters than comparable models. EfficientNetB0 achieves 10× fewer parameters than ResNet50 while maintaining competitive accuracy.

MobileNet (2017–2019): Howard et al. [30] designed lightweight architectures using depthwise separable convolutions for mobile and embedded applications. MobileNetV3, optimised through hardware-aware neural architecture search, achieves efficient performance suitable for edge deployment in clinical settings.

### 2.3 Attention Mechanisms and Transformers

Vision Transformer (ViT, 2020): Dosovitskiy et al. [5] adapted transformer architectures for vision by treating images as sequences of patches (16×16 pixels). ViT-B/16 demonstrated competitive performance with CNNs on large datasets (ImageNet, JFT-300M) but required extensive pretraining and showed limitations on smaller medical datasets due to lack of inherent inductive biases.

Swin Transformer (2021): Liu et al. [6] introduced hierarchical transformers with shifted windows, enabling efficient multi-scale processing while maintaining linear computational complexity relative to image size. Swin Transformers achieved state-of-the-art results on ImageNet and showed promise for medical imaging applications, capturing both local boundaries and global anatomical context.

CoaTNet (2021): Xu et al. [7] proposed Co-scale Conv-Attentional networks combining convolutional and attention mechanisms in a unified architecture, achieving efficient performance across model sizes by maintaining both local feature extraction and global dependency modelling.

### 2.4 Brain Tumour Classification Studies

Recent studies applying these architectures to brain tumour detection include the comparative summary presented in Table I.

TABLE I COMPARISON OF EXISTING STUDIES FOR BRAIN TUMOUR DETECTION

| Study | Model | Dataset Size | Task | Accuracy |
| --- | --- | --- | --- | --- |
| Talo et al. (2019) [31] | ResNet50 | 253 | Binary | 95.23% |
| Khan et al. (2020) [23] | VGG16 | 3,064 | Binary | 98.69% |
| Noreen et al. (2020) [25] | DenseNet121 | 3,064 | Binary | 99.51% |
| Rehman et al. (2020) [28] | InceptionV3 | 3,064 | Binary | 99.34% |
| Ghassemi et al. (2020) [32] | EfficientNet | 3,064 | Binary | 98.87% |
| Cheng et al. (2015) [19] | SVM + Features | 3,064 | Multi-class | 90.00% |
| Deepak & Ameer (2019) [27] | InceptionV3 | 3,064 | Multi-class | 97.50% |

### 2.5 Identified Gaps and Study Contribution

Despite extensive research, several gaps persist in the literature. First, limited cross-architecture comparison exists, as studies typically evaluate only 2-3 models, making comprehensive comparison difficult. Second, dataset heterogeneity is problematic, as different studies use different splits, preprocessing protocols, and evaluation methods. Third, transformer underrepresentation remains an issue, as most existing work focuses on CNNs with limited transformer evaluation. Fourth, reproducibility challenges exist because code and trained models are rarely shared, hindering validation and extension. Fifth, incomplete deduplication is common, as most studies do not address near-duplicate images across combined datasets, leading to data leakage.

This study addresses these gaps by implementing nine architectures under identical conditions, using combined datasets from multiple sources with rigorous deduplication through perceptual hashing, sharing complete reproducible code, including both CNN and transformer models, providing detailed performance analysis for both binary and multi-class tasks, and establishing standardised evaluation protocols.

## 3. Methods and Materials

### 3.1 Dataset and Data Collection

#### 3.1.1 Data Sources for Binary Detection Task

For the binary brain tumour detection task, which requires classifying MRI images as either containing a tumour (positive) or being tumour-free (negative), we combined two publicly available brain MRI datasets sourced from the Kaggle platform.

Dataset 1: Brain MRI Images for Brain Tumour Detection was contributed by Navoneel Chakrabarty and contains 253 MRI images in total. Among these, 155 images are labelled as tumour-positive and 98 images as tumour-negative. The images in this dataset represent a mix of T1-weighted and T2-weighted sequences, though specific sequence information is not uniformly provided. This dataset has been used in several prior studies as a small-scale validation set.

Dataset 2: Brain Tumour Detection was contributed by Ahmed Hamada and contains a substantially larger collection of 3,000 MRI images. The class distribution in this dataset is perfectly balanced, with 1,500 tumour-positive and 1,500 tumour-negative images. The images are provided in JPEG format and have been pre-cropped to focus on the brain region, though some variability in field of view and image resolution exists across samples.

The combined binary dataset therefore comprised 3,253 images with the following final class distribution: 1,598 non-tumour images (49.1% of the total) and 1,655 tumour-positive images (50.9% of the total). This near-perfect balance of classes is highly desirable for binary classification because it prevents the model from exploiting class imbalance as a shortcut and ensures that chance-level accuracy remains at 50% rather than being skewed toward the majority class.

#### 3.1.2 Data Sources for Multi-Class Classification Task

For the more challenging multi-class classification task, where the model must distinguish between three distinct types of brain tumours (glioma, meningioma, and pituitary tumours), we combined two publicly available brain tumour MRI datasets.

Dataset 1: Sartaj Bhuvaji’s Brain Tumour Classification MRI (available on Kaggle) provides a structured collection with separate training and testing folders. The images are organised into three class subdirectories: glioma, meningioma, and pituitary. All images are provided in JPEG format with consistent dimensions of 224×224 pixels. This dataset has been widely used in deep learning research for brain tumour classification and represents a relatively clean, well-labelled collection.

Dataset 2: Jun Cheng’s Brain Tumour MRI Dataset [19] is a well-known collection in the brain tumour research community. It contains MRI images of the same three tumour types: glioma, meningioma, and pituitary. The images are also provided in JPEG format, though original resolutions vary. This dataset was originally published alongside a tumour region augmentation method and has been cited extensively in the literature.

The initial combined multi-class dataset before any deduplication or cleaning comprised 5,828 images with the following class distribution: glioma contributed 2,352 images (40.4% of the combined total), meningioma contributed 1,645 images (28.2%), and pituitary contributed 1,831 images (31.4%). This distribution is moderately balanced, with no single class constituting an overwhelming majority.

#### 3.1.3 Data Collection Implementation

The data collection process was implemented using custom Python functions that performed recursive directory traversal. These functions systematically walked through the folder hierarchy, identified all image files, extracted the class label from the parent directory name, and collected the absolute file path for subsequent loading. Only files with valid image extensions (.jpg, .jpeg, .png, and .tif) were included in the dataset; hidden files, system files, and non-image files (such as .txt or .csv) were automatically excluded. The collected file paths and labels were stored in Pandas DataFrames to facilitate stratified splitting and preprocessing.

### 3.2 Data Preprocessing

#### 3.2.1 Perceptual Hashing for Deduplication

A critical preprocessing step unique to the multi-class classification task was the systematic identification and removal of near-duplicate images across the two combined datasets. When datasets from different sources are merged, it is common to encounter identical or nearly identical images that have been resized, recompressed, or subjected to minor modifications. These near-duplicates, if inadvertently distributed across training and test splits, constitute a form of data leakage that artificially inflates reported performance metrics.

To address this problem, we employed perceptual hashing (pHash), a technique that generates a compact fingerprint (hash) for each image in a manner that is robust to resizing, compression, slight rotations, and minor contrast or colour adjustments. Unlike cryptographic hash functions such as MD5 or SHA-256, where a single bit change in the input produces a completely different output, perceptual hashes produce similar outputs for visually similar images. Specifically, we generated 64-bit perceptual hashes using the ImageHash library, which implements the algorithm described in the original pHash paper. The Hamming distance between two hash values serves as a similarity metric, representing the number of bit positions in which the two hashes differ. We adopted a tolerance threshold of 5: any pair of images with a Hamming distance of 5 or less (meaning they differ in at most 5 bits out of 64) were considered near-duplicates. When multiple near-duplicate images were identified, all but one representative were removed from the dataset.

The rationale for rigorous deduplication is multi-fold and critically important. First, multiple public datasets often contain the same underlying images because they derive from common original sources such as the TCIA (The Cancer Imaging Archive) or the Figshare brain tumour collection. Second, near-duplicates cause data leakage if present across train and test splits, as the model can effectively memorise the test image during training. Third, removal of duplicates ensures that reported performance metrics reflect true generalisation capability to genuinely novel images rather than recognition of previously seen examples.

The results after applying perceptual hashing deduplication showed substantial and meaningful reduction across all three tumour classes. For the glioma class, the image count decreased from 2,352 to 2,000, representing a 15.0% reduction. For the meningioma class, the reduction was from 1,645 to 1,304, or 20.7%. For the pituitary class, the reduction was from 1,831 to 1,401, or 23.5%. Overall, the total multi-class dataset was reduced from 5,828 images to 4,705 images, corresponding to a 19.3% overall reduction. The final class distribution after deduplication was: glioma 2,000 images (42.5% of the cleaned dataset), meningioma 1,304 images (27.7%), and pituitary 1,401 images (29.8%). This distribution remains well-suited for multi-class classification.

#### 3.2.2 Train-Validation-Test Split

Stratified sampling was employed for all dataset splits to ensure that the class distribution in each subset (training, validation, and test) faithfully reflected the class distribution in the full dataset. This is particularly important for medical datasets where class imbalances may exist, as a random split might by chance place a disproportionate fraction of a rare class into the test set, leading to unreliable performance estimates.

For the binary detection task, the split ratios were as follows: 70% of the images (2,277 images) were allocated to the training set, 15% (488 images) to the validation set, and the remaining 15% (488 images) to the test set. These ratios are standard in machine learning practice, providing a sufficiently large training set for model learning while retaining ample data for validation (hyperparameter tuning and early stopping) and final testing.

For the multi-class classification task, the same 70/15/15 ratio was applied to the deduplicated dataset of 4,705 images. This yielded 3,293 training images (70.0% of the total), 706 validation images (15.0%), and 706 testing images (15.0%). Stratification was performed using the train_test_split function from the scikit-learn library with the stratify parameter set to the class label array. A fixed random seed (42) was used for all splitting operations to ensure complete reproducibility of results across different runs and research groups.

The splitting process followed a two-stage procedure. In the first stage, the full dataset was divided into a training set (70%) and a temporary set (30%). In the second stage, the temporary set was equally divided into validation (15%) and test (15%) sets. This two-stage approach ensures that the validation and test sets are mutually exclusive and that both are drawn from the same underlying distribution.

#### 3.2.3 Image Transformations

All images were loaded using the Python Imaging Library (PIL), which provides robust support for various image formats and colour spaces. Each image was converted to RGB format with three colour channels, even if the original image was grayscale, to ensure full compatibility with all pretrained models. Most ImageNet-pretrained models expect three-channel RGB input and will raise errors if presented with single-channel grayscale images.

Images were then resized to model-specific input dimensions. For ResNet50, VGG16, DenseNet121, EfficientNetB0, MobileNetV3-Large, ViT-B/16, Swin Transformer Base, and CoaTNet-0, the target size was 224×224 pixels, which is the standard input resolution for these architectures as originally published. For InceptionV3, which was designed with a larger input resolution to benefit from its multi-scale inception modules, the target size was 299×299 pixels.

All models employed the same ImageNet normalisation statistics to ensure that the input distribution matched what the pretrained weights expect. Specifically, the mean values for the three RGB channels were set to [0.485, 0.456, 0.406] respectively, and the standard deviation values were set to [0.229, 0.224, 0.225] respectively. Normalisation was applied after converting the image to a PyTorch tensor and scaling pixel values from the [0, 255] integer range to the [0.0, 1.0] floating-point range.

Training Transformations: To improve model generalisation and reduce overfitting, we applied a series of data augmentation transformations exclusively to the training set. These augmentations introduce controlled variations that simulate real-world imaging conditions without changing the underlying medical diagnosis. The specific augmentations applied were: random horizontal flipping with a probability of 0.5 (mirroring the image left to right, which preserves tumour location relative to brain anatomy); random rotation of up to ±10 degrees (simulating slight variations in patient positioning within the MRI scanner); and colour jitter adjusting brightness and contrast by up to 20% (simulating variations in scanner calibration and acquisition parameters). These augmentations were applied on the fly during each training epoch, meaning that each image was transformed differently each time it was presented to the model.

Validation and Test Transformations: For validation and testing, we applied only the essential transformations: resizing to the required input dimensions, conversion to tensor, and normalisation. No stochastic augmentations were applied to these subsets, ensuring that evaluation results are deterministic and reproducible across runs. This practice follows standard machine learning methodology where validation and test sets should reflect the true data distribution without artificial perturbations.

#### 3.2.4 DataLoader Configuration

The PyTorch DataLoader was configured with optimisations specifically chosen for multi-GPU training efficiency. The number of worker subprocesses (NUM_WORKERS) was set to 4, allowing parallel loading and transformation of batches while the GPU processes the previous batch. Pin memory (PIN_MEMORY = True) was enabled to allocate tensors in page-locked memory, which enables faster asynchronous transfer from CPU to GPU. Persistent workers (PERSISTENT_WORKERS = True) were used to maintain worker processes across epochs, eliminating the overhead of recreating workers for each epoch. A prefetch factor of 4 was set, instructing each worker to prefetch four batches ahead of the current batch, further hiding data loading latency.

### 3.3 Model Architectures

#### 3.3.1 Convolutional Neural Networks (Classical)

ResNet50 is a 50-layer residual network built around bottleneck residual blocks. The key innovation of ResNet is the introduction of skip connections (also called identity shortcuts) that enable gradients to flow directly through the network without passing through convolutional layers. This architectural design effectively addresses the vanishing gradient problem that previously limited the trainable depth of neural networks. ResNet50 contains 25.6 million parameters, making it a moderately sized model by contemporary standards. The network was pretrained on the ImageNet dataset (1.2 million images across 1,000 classes) to provide a strong feature extraction foundation. For the binary classification task, the final fully connected layer (model.fc) was replaced with a linear layer mapping from 2,048 features to 1 logit (nn.Linear(2048, 1)). For the multi-class classification task, the final layer was replaced to map from 2,048 features to 3 logits (nn.Linear(2048, 3)).

VGG16 is a 16-layer network notable for its extreme architectural simplicity: it uses only 3×3 convolutional filters stacked in increasing depth, with max-pooling layers for spatial downsampling. The key insight of VGG was demonstrating that increasing depth with small filters consistently improves performance. However, this simplicity comes at a substantial computational cost. VGG16 has 138 million parameters, making it the largest model in our study by a considerable margin. The classifier head, which originally consisted of three fully connected layers with dropout, was replaced appropriately for each task while preserving the convolutional feature extraction backbone.

DenseNet121 is a 121-layer densely connected network that takes a different approach to information flow. Rather than residual connections that add the input to the output of a block, DenseNet concatenates the feature maps of all preceding layers with the output of the current layer. This design maximises information flow, encourages feature reuse, and reduces the number of parameters because each layer only needs to learn a small number of new feature maps (typically 32 or 64 per layer). DenseNet121 has only 8 million parameters, demonstrating excellent parameter efficiency. The final classifier layer was modified for each classification task.

#### 3.3.2 Efficient CNNs

EfficientNetB0 was developed using neural architecture search and a compound scaling method that uniformly scales network depth, width, and input resolution. The insight behind EfficientNet is that these three dimensions are not independent: optimal performance requires balancing all three. EfficientNetB0, the smallest variant in the EfficientNet family, achieves state-of-the-art accuracy for its size with only 5.3 million parameters. This makes it the most parameter-efficient model in our entire study. The model was pretrained on ImageNet, and its classifier head was replaced for each task.

MobileNetV3-Large is a lightweight architecture designed specifically for mobile and embedded applications. Its core building block is the depthwise separable convolution, which factorises a standard convolution into a depthwise convolution (applying a single filter per input channel) followed by a pointwise convolution (a 1×1 convolution that combines the outputs). This factorisation dramatically reduces computational cost while preserving representational capacity. MobileNetV3-Large, optimised through hardware-aware neural architecture search, contains 5.4 million parameters, comparable to EfficientNetB0.

InceptionV3 is a 48-layer network that introduces parallel convolutional paths of different kernel sizes within the same module. Specifically, inception modules simultaneously apply 1×1, 3×3, and 5×5 convolutions (with appropriate dimensionality reduction) and then concatenate the outputs along the channel dimension. This multi-scale design allows the network to capture features at different spatial resolutions within the same layer, which is particularly valuable for medical images where tumour sizes can vary dramatically across patients. InceptionV3 has 23.9 million parameters. For binary classification, the auxiliary classifier (model.AuxLogits.fc) was also modified to ensure consistent gradient flow.

#### 3.3.3 Transformer-Based Models

ViT-B/16 (Vision Transformer) applies a pure transformer architecture directly to images, treating an image as a sequence of patches. The input image (224×224 pixels) is divided into 16×16 non-overlapping patches, resulting in a sequence of 196 patches (14×14 grid). Each patch is linearly projected to a 768-dimensional embedding vector, and a special classification token (CLS token) is prepended to the sequence. Positional embeddings are added to retain spatial information. The transformer encoder, consisting of 12 layers of multi-head self-attention and feedforward networks, processes this sequence. The final classification is taken from the CLS token. ViT-B/16 has 86 million parameters. Notably, ViT lacks the convolutional inductive biases of locality and translation equivariance, instead learning these relationships entirely from the training data.

Swin Transformer Base introduces a hierarchical transformer architecture with shifted windows. Unlike ViT, which processes all patches uniformly, Swin builds a pyramid of feature maps at different resolutions, similar to CNNs. The key innovation is the shifted window attention mechanism: within each local window (typically 7×7 patches), self-attention is computed efficiently, and then windows are shifted to enable cross-window connections. This design achieves linear computational complexity with respect to image size (unlike the quadratic complexity of standard ViT) while enabling multi-scale feature extraction. Swin Base has 88 million parameters and was loaded using the TIMM (PyTorch Image Models) library with a window size of 7×7.

CoaTNet-0 (Co-scale Conv-Attentional Network) is a hybrid architecture that combines convolutional and attention mechanisms in a unified framework. The design philosophy is to capture the best of both worlds: convolutions for efficient local feature extraction and translation equivariance, and attention for modelling long-range dependencies and global context. CoaTNet-0 has approximately 10 million parameters, making it substantially smaller than ViT and Swin while achieving competitive or superior performance. The model was also loaded via the TIMM library.

### 3.4 Training Configuration

#### 3.4.1 Hardware Environment

All experiments were conducted on dual NVIDIA Tesla T4 GPUs. Each T4 GPU provides 16 GB of GDDR6 memory and is designed for inference and training of deep learning models in cloud environments. The T4’s tensor cores support mixed precision training, which we utilised extensively. The CPU configuration consisted of Intel Xeon processors with 4 virtual CPUs. The system had 29 GB of RAM, and Kaggle’s working directory storage was used for dataset and checkpoint storage. The hardware environment was maintained consistently across all model training runs to ensure fair comparison. No model received any hardware advantage over any other.

#### 3.4.2 Software Environment

The software environment was built around Python 3.12.12. PyTorch 2.x with CUDA 12.x support served as the primary deep learning framework. Torchvision provided standard model architectures and image transformations. The TIMM library (PyTorch Image Models) was used to load transformer architectures (Swin Base and CoaTNet-0) as well as EfficientNetB0 and MobileNetV3-Large. TensorBoard was used for experiment tracking, loss visualisation, and metric logging. Scikit-learn provided metrics computation including accuracy, AUC-ROC, and classification reports. Supporting libraries included NumPy for numerical operations, Pandas for data management, PIL for image loading, and imagehash for perceptual hashing.

Multi-GPU training was implemented using torch.nn.DataParallel, which splits each batch across the available GPUs, computes gradients in parallel, and averages the gradients before the optimiser step. This approach provided near-linear speedup for batch sizes that could be evenly divided across the two GPUs.

Mixed precision training was employed using torch.amp.autocast with FP16 (16-bit floating point) precision. Mixed precision reduces memory consumption by approximately half and accelerates computation, particularly on GPUs with tensor core support. We also used torch.amp.GradScaler to dynamically scale gradients and prevent underflow in FP16.

#### 3.4.3 Hyperparameters

To ensure fair comparison across all nine architectures, we standardised the following hyperparameters across all models:

- Number of epochs: 10 epochs total. While this is fewer than typical training from scratch, it proved sufficient for fine-tuning pretrained models, as most converged within 4–7 epochs. Early stopping was not enforced, but we monitored validation metrics to identify the best epoch for each model.

- Optimiser: AdamW, which improves upon standard Adam by decoupling weight decay from the gradient update. Weight decay was set to the PyTorch default of 0.01 for all models.

- Learning rate: 3e-4 (0.0003), a standard learning rate for fine-tuning ImageNet-pretrained models on downstream tasks. No learning rate warmup was used, as the cosine annealing scheduler reduces the learning rate from the initial value.

- Learning rate scheduler: CosineAnnealingLR with T_max = 10 epochs. This scheduler reduces the learning rate following a cosine curve from the initial value to near zero over the course of training.

- Loss function (binary): BCEWithLogitsLoss, which combines a sigmoid layer with binary cross-entropy loss in a numerically stable manner.

- Loss function (multi-class): CrossEntropyLoss, which combines a softmax layer with categorical cross-entropy loss.

- Batch sizes: Model-specific based on GPU memory constraints: ResNet50 (256), VGG16 (256), DenseNet121 (64), EfficientNetB0 (256), MobileNetV3-Large (256), InceptionV3 (128), ViT-B/16 (128), Swin Transformer Base (64), CoaTNet-0 (64). Larger batch sizes generally provide more stable gradient estimates (lower variance) but require more GPU memory. The batch size for each model was set to the maximum that fit within the 16 GB memory of a single T4 GPU.

#### 3.4.4 Training Loop Implementation

The training loop for each epoch consisted of two distinct phases. The training phase applied data augmentation, performed forward and backward passes, updated model weights, and computed training metrics. The validation phase was performed without augmentations and without gradient computation (torch.no_grad()) to evaluate the model on unseen data. Learning rate scheduling via CosineAnnealingLR was applied after each epoch. Model checkpointing saved the best model based on validation AUC (for binary) or validation accuracy (for multi-class). For binary classification, predictions were passed through a sigmoid activation function to convert logits to probabilities between 0 and 1. For multi-class classification, softmax activation was used to obtain class probabilities summing to 1.

The run_epoch function was implemented to handle both training and evaluation modes with a single unified code path. For each batch, images and labels were moved to the GPU device. With mixed precision enabled via autocast, outputs were computed and loss was calculated. In training mode, gradients were zeroed using optimizer.zero_grad(), loss was backpropagated through the gradient scaler using scaler.scale(loss).backward(), the optimiser step was performed via scaler.step(optimizer), and the scaler was updated via scaler.update(). Predictions were accumulated over all batches for metric computation at the end of the epoch.

### 3.5 Evaluation Metrics

Accuracy is defined as (True Positives + True Negatives) divided by Total Samples. Accuracy represents the overall correctness of predictions, providing a single summary statistic. However, accuracy can be misleading for imbalanced datasets, which is why we also report AUC.

Cross-Entropy Loss measures the calibration of prediction confidence. It is defined as the negative logarithm of the predicted probability assigned to the true class, averaged over all samples: -Σ y_true × log(y_pred). Lower loss indicates better-calibrated predictions. A model with high accuracy but high loss may be overconfident in its predictions.

AUC-ROC (Area Under the Receiver Operating Characteristic Curve) represents the probability that a randomly chosen positive instance is ranked higher than a randomly chosen negative instance by the model’s predicted probability score. AUC-ROC values range from 0.5 (random guessing, no discriminative ability) to 1.0 (perfect separation, all positives ranked above all negatives). For multi-class classification, we used the One-vs-Rest (OvR) approach, implemented via the roc_auc_score function with multi_class="ovr". In this approach, a separate ROC curve and AUC are computed for each class against all other classes combined, and the results are averaged.

### 3.6 Reproducibility

To ensure that all results reported in this study can be reproduced by other researchers, we implemented comprehensive random seed control. The SEED value was fixed at 42 for all random number generators: torch.manual_seed(42) for PyTorch, np.random.seed(42) for NumPy, random.seed(42) for the Python random module, and torch.cuda.manual_seed_all(42) for all CUDA devices. CUDA convolution algorithms were allowed to benchmark automatically with torch.backends.cudnn.benchmark = True, which selects the fastest algorithm for the specific hardware and input dimensions, improving training speed without affecting numerical results. TF32 precision was enabled on supported hardware with torch.backends.cuda.matmul.allow_tf32 = True to further accelerate matrix multiplications. Complete code, including all preprocessing, training, and evaluation scripts, has been made publicly available at the repository link provided in Appendix C.

## 4. Results and Discussion

### 4.1 Binary Detection Task Performance

#### 4.1.1 Final Test Results

TABLE II presents the final test results for the binary brain tumour detection task across all nine architectures.

TABLE II BINARY DETECTION TEST RESULTS

| Model | Test Accuracy | Test AUC | Best Validation AUC (Epoch) | Parameters |
| --- | --- | --- | --- | --- |
| InceptionV3 | 99.39% | 1.0000 | 0.9999 (Epoch 2) | 23.9M |
| CoaTNet-0 | 99.59% | 1.0000 | 0.9999 (Epoch 7) | ~10M |
| EfficientNetB0 | 99.59% | 0.9999 | 0.9999 (Epoch 4) | 5.3M |
| DenseNet121 | 97.95% | 0.9999 | 1.0000 (Epoch 1) | 8.0M |
| ResNet50 | 99.39% | 0.9999 | 0.9999 (Epoch 6) | 25.6M |
| Swin Base | 98.16% | 0.9990 | 0.9988 (Epoch 6) | 88M |
| MobileNetV3 | 91.39% | 0.9982 | 0.9993 (Epoch 10) | 5.4M |
| ViT-B/16 | 95.08% | 0.9861 | 0.9897 (Epoch 10) | 86M |
| VGG16 | 83.20% | 0.9247 | 0.9343 (Epoch 10) | 138M |

#### 4.1.2 Training Progression Analysis

InceptionV3 demonstrated exceptionally rapid convergence. At Epoch 1, training accuracy reached 89.80% with validation AUC of 0.9997. By Epoch 2, training accuracy improved to 99.22% with validation AUC of 0.9999, which remained the best validation performance. Final test results showed 99.39% accuracy with perfect AUC of 1.0000.

CoaTNet-0 showed steady improvement over 7 epochs. Starting from Epoch 1 with training accuracy of 65.27% and validation AUC of 0.8437, the model progressively improved through Epoch 2 (87.90%, AUC 0.9911), Epoch 3 (95.49%, AUC 0.9972), Epoch 5 (99.02%, AUC 0.9983), Epoch 6 (99.11%, AUC 0.9996), and reached best validation at Epoch 7 (99.78% training accuracy, validation AUC 0.9999). Final test accuracy was 99.59% with perfect AUC.

EfficientNetB0 converged rapidly, reaching best validation by Epoch 4. Starting at Epoch 1 with 78.47% training accuracy and validation AUC of 0.9724, the model progressed to Epoch 2 (94.38%, AUC 0.9987), Epoch 3 (97.95%, AUC 0.9998), and Epoch 4 (99.37% training accuracy, validation AUC 0.9999). Final test accuracy was 99.59% with AUC of 0.9999.

DenseNet121 showed interesting behaviour with best validation achieved at Epoch 1 (93.48% training accuracy, validation AUC of 1.0000). This immediate peak suggests potential overfitting, though final test performance remained strong at 97.95% accuracy with AUC of 0.9999.

ResNet50 demonstrated stable improvement over 6 epochs, starting at Epoch 1 (82.91% training accuracy, validation AUC 0.9832) and progressing to best validation at Epoch 6 (99.80% training accuracy, validation AUC 0.9999). Final test accuracy was 99.39% with AUC of 0.9999.

Swin Base required more epochs to converge, showing progressive improvement from Epoch 1 (61.25% training accuracy, AUC 0.7959) through Epoch 4 (85.71%, AUC 0.9777), Epoch 5 (93.13%, AUC 0.9849), and reaching best validation at Epoch 6 (96.65% training accuracy, validation AUC 0.9988). Final test accuracy was 98.16% with AUC of 0.9990.

MobileNetV3 showed training instability with a large gap between training and validation performance. Best validation AUC of 0.9993 was achieved at Epoch 10 despite 99.90% training accuracy, but test accuracy dropped to 91.39%, indicating poor generalisation.

ViT-B/16 demonstrated the slowest convergence among all models, requiring the full 10 epochs to reach best validation. Starting at Epoch 1 (60.06% training accuracy, AUC 0.7205), the model steadily improved to Epoch 10 (94.30% training accuracy, validation AUC 0.9897). Final test accuracy was 95.08% with AUC of 0.9861.

VGG16 showed the poorest performance, with slow convergence and final test accuracy of only 83.20% with AUC of 0.9247, confirming that this classical architecture is unsuitable for medical imaging applications given modern alternatives.

### 4.2 Multi-Class Classification Task Performance

#### 4.2.1 Final Test Results

TABLE III presents the final test results for the multi-class brain tumour classification task.

TABLE III MULTI-CLASS CLASSIFICATION TEST RESULTS

| Model | Test Accuracy | Test Loss | Test AUC | Parameters |
| --- | --- | --- | --- | --- |
| InceptionV3 | 98.58% | 0.0389 | 0.9995 | 27.2M |
| Swin-Base | 98.58% | 0.0377 | 0.9993 | 86.7M |
| EfficientNetB0 | 97.59% | 0.0582 | 0.9987 | 5.3M |
| CoaTNet-0 | 97.59% | 0.0638 | 0.9990 | ~10M |
| ResNet-50 | 96.60% | 0.0740 | 0.9990 | 25.6M |
| ViT-B/16 | 89.52% | 0.2737 | 0.9736 | 86.4M |

#### 4.2.2 Training Convergence Analysis

InceptionV3 demonstrated rapid convergence for multi-class classification as well. Starting at Epoch 1 with 83.09% training accuracy and validation AUC of 0.9817, the model improved to Epoch 2 (94.41% training accuracy, validation AUC 0.9947) and continued improving through Epoch 10 (99.88% training accuracy, validation AUC 0.9967). Final test accuracy was 98.58% with test AUC of 0.9995.

Swin-Base achieved test accuracy of 98.58% with the lowest test loss (0.0377) among all models. Training progression showed steady improvement from Epoch 1 (78.37% training accuracy, validation AUC 0.9853) to best validation around Epoch 10 (99.42% training accuracy, validation AUC 0.9972). The strong performance of Swin-Base demonstrates that hierarchical attention mechanisms effectively capture both local tumour boundaries and global brain structure context.

EfficientNetB0 achieved 97.59% test accuracy with only 5.3 million parameters, representing the best accuracy-to-parameter ratio among all models. The model converged rapidly, demonstrating that neural architecture search produces highly efficient yet accurate models suitable for resource-constrained deployment.

ViT-B/16 showed significantly slower convergence for multi-class classification, requiring the full 10 epochs to reach best validation (87.68% validation accuracy, AUC 0.9679). The final test accuracy of 89.52% was substantially lower than CNN-based models, suggesting that pure transformers may require larger datasets than the 4,705 images available to reach their full potential. The lack of inherent convolutional inductive biases (locality and translation equivariance) may disadvantage ViT on medical imaging tasks with limited data.

### 4.3 Model Efficiency Analysis

TABLE IV presents the computational efficiency comparison across models.

TABLE IV MODEL EFFICIENCY COMPARISON

| Model | Batch Size | Parameters | Relative Training Speed | Memory Usage |
| --- | --- | --- | --- | --- |
| EfficientNetB0 | 256 | 5.3M | 1.0x (Fastest) | Lowest |
| ResNet-50 | 256 | 25.6M | 1.2x | Low |
| CoaTNet-0 | 64 | ~10M | 2.5x | Moderate |
| InceptionV3 | 128 | 23.9-27.2M | 2.0x | Moderate |
| Swin-Base | 64 | 86-88M | 4.0x | High |
| ViT-B/16 | 32 | 86-86.4M | 5.0x | Highest |
| VGG16 | 256 | 138M | 1.5x | Moderate |

EfficientNetB0 was the fastest and most memory-efficient model, enabling batch size of 256 and demonstrating that massive parameter counts are not necessary for high accuracy. InceptionV3 offered an excellent balance of high accuracy (top performer) and moderate computational cost. Swin-Base and ViT-B/16 required significantly more training time and memory due to their self-attention mechanisms, though Swin-Base achieved top accuracy while ViT-B/16 lagged behind.

### 4.4 Parameter Efficiency Analysis

The accuracy per million parameters metric provides insight into architectural efficiency. EfficientNetB0 achieved 0.188% accuracy per million parameters (97.59% / 5.3M), the highest among all models. DenseNet121 achieved 0.122% accuracy per million parameters (97.95% / 8.0M). CoaTNet-0 achieved approximately 0.0996% accuracy per million parameters (99.59% / 10M). InceptionV3 achieved 0.0416% accuracy per million parameters (99.39% / 23.9M). ResNet50 achieved 0.0388% accuracy per million parameters (99.39% / 25.6M). Swin Base achieved 0.0112% accuracy per million parameters (98.16% / 88M). ViT-B/16 achieved 0.0111% accuracy per million parameters (95.08% / 86M). VGG16 achieved only 0.0060% accuracy per million parameters (83.20% / 138M), confirming its poor parameter efficiency.

### 4.5 Comparison with Existing Work

TABLE V compares our results with previously published studies.

TABLE V COMPARISON WITH EXISTING LITERATURE

| Study | Model | Dataset Size | Task | Reported Accuracy | Our Result |
| --- | --- | --- | --- | --- | --- |
| Talo et al. (2019) [31] | ResNet50 | 253 | Binary | 95.23% | 99.39% |
| Khan et al. (2020) [23] | VGG16 | 3,064 | Binary | 98.69% | 83.20% |
| Noreen et al. (2020) [25] | DenseNet121 | 3,064 | Binary | 99.51% | 97.95% |
| Rehman et al. (2020) [28] | InceptionV3 | 3,064 | Binary | 99.34% | 99.39% |
| Deepak & Ameer (2019) [27] | InceptionV3 | 3,064 | Multi-class | 97.50% | 98.58% |

Our ResNet50 and InceptionV3 results align with or exceed literature benchmarks. The discrepancy for VGG16 (83.20% vs. reported 98.69%) may be attributed to differences in data preprocessing, augmentation strategies, or train-test splits. Our DenseNet121 result (97.95%) is slightly below the reported 99.51%, which may reflect our conservative early stopping strategy or the increased difficulty of our combined dataset.

### 4.6 Discussion of Findings

#### 4.6.1 Why Modern Architectures Excel

Several architectural innovations contribute to superior performance in medical imaging tasks. Residual learning in ResNet and EfficientNet enables training of deeper networks that can learn more complex features without vanishing gradients, allowing the network to capture hierarchical representations of tumour characteristics from low-level edges to high-level semantic features.

Dense connections in DenseNet maximise information flow and feature reuse with minimal parameters, ensuring that earlier layers receive direct gradient signals and that features are efficiently reused across the network.

Multi-scale processing in Inception captures tumours of varying sizes through parallel convolution paths of different kernel sizes (1×1, 3×3, 5×5), which is particularly valuable for medical images where tumour sizes can vary dramatically across patients and imaging protocols.

Attention mechanisms in CoaTNet and Swin Transformer model long-range dependencies and spatial relationships crucial for understanding tumour context, allowing the network to relate tumour regions to surrounding healthy tissue and anatomical structures.

Neural architecture search in EfficientNet and MobileNetV3 optimises architectural decisions beyond human intuition, systematically exploring the design space to identify optimal combinations of depth, width, and resolution scaling.

#### 4.6.2 The Transformer Paradox

Pure transformers (ViT) underperformed relative to expectations, while hybrid models (CoaTNet) excelled. This observation suggests several explanations. Transformers may require more data than available (3,253–4,705 images) to reach full potential, as the original ViT paper demonstrated competitiveness with CNNs only when pretrained on JFT-300M (300 million images). Convolutional inductive biases (locality, translation equivariance) remain valuable for medical imaging, providing strong priors that are particularly beneficial when training data is limited. Hybrid designs capture the best of both worlds by maintaining local feature extraction through convolutions while adding global context through attention mechanisms.

#### 4.6.3 Clinical Implications

Models achieving >99% accuracy for binary detection and >98% accuracy for multi-class classification with near-perfect AUC are clinically viable for several applications. Screening applications can flag potential tumours for radiologist review, reducing the number of normal scans requiring expert interpretation. Triage systems can prioritise urgent cases in high-volume settings, ensuring that patients with suspicious findings receive prompt attention. Decision support tools can provide second opinions to reduce diagnostic errors and inter-observer variability. Resource-limited settings can benefit from automated preliminary diagnosis where specialist radiologists are scarce, as is the case in many parts of India and other developing nations.

#### 4.6.4 Deployment Considerations

Based on our comprehensive analysis, we recommend the following model selections for different deployment scenarios. For cloud API deployment where high accuracy is the primary concern, InceptionV3 offers perfect AUC, fast inference, and moderate computational requirements. For edge devices with limited compute resources, EfficientNetB0 provides 99.59% binary accuracy with only 5.3 million parameters, making it suitable for deployment on standard hospital workstations without dedicated GPUs. For mobile applications where extreme efficiency is required, MobileNetV3 offers acceptable accuracy (91.39% binary, AUC 0.9982) with only 5.4 million parameters. For research baselines where reproducibility is important, ResNet50 remains a well-understood benchmark. For attention-focused research applications, CoaTNet-0 achieves top accuracy with moderate parameters.

## 5. Limitations and Future Work

### 5.1 Limitations

Dataset Limitations: The dataset size of 3,253–4,705 images is moderate and may not capture full clinical variability across different patient populations, MRI protocols, field strengths (1.5T vs. 3T), and equipment manufacturers. The data is limited to two or three public datasets, potentially lacking geographic and demographic diversity. MRI protocols, field strengths, and equipment variations are not fully represented in the training data. Annotation quality is limited to binary or three-class labels without tumour grade, precise location, or size information, and there is potential label noise from crowdsourced datasets.

Generalisation Concerns: Models trained on Kaggle datasets may not generalise to other institutions' MRI protocols. No external validation was performed on completely unseen datasets from different sources. Performance on low-quality images or unusual presentations was not evaluated. There is potential for dataset-specific features being learned rather than true tumour characteristics.

Computational Constraints: Training was limited to 10 epochs due to computational budget, though most models converged within this period. No extensive hyperparameter tuning was performed per model (all used learning rate of 3e-4). Batch sizes varied due to memory constraints, potentially affecting comparability across models. Only a single training run per model was conducted (no cross-validation or ensemble evaluation).

Evaluation Limitations: Primary metrics were limited to accuracy, loss, and AUC without detailed precision-recall analysis per class. No evaluation of model calibration (expected vs. actual probabilities) was performed. Interpretability analysis (saliency maps, attention visualisation) was not included. Uncertainty quantification for predictions was not implemented.

Real-World Applicability Issues: Models accept single 2D slices rather than full 3D MRI volumes, missing volumetric information. No handling of multi-sequence MRI (T1, T2, FLAIR, DWI) was implemented. Integration with clinical workflows or DICOM standards was not addressed. Inference latency was not benchmarked across different hardware configurations.

### 5.2 Future Work

Dataset Expansion: Short-term priorities include collecting additional public datasets (BRATS, TCGA, local institutional data), implementing 5-fold cross-validation for more robust performance estimates, and creating fine-grained classification for tumour types and grades. Long-term priorities include partnering with medical institutions for diverse, clinically validated data, developing 3D models for volumetric MRI analysis, and including multi-sequence MRI inputs for comprehensive assessment.

Model Improvements: Architecture exploration should evaluate larger variants (EfficientNetB7, Swin Large, ViT-Large), implement ensemble methods combining top-performing models, and explore recent architectures (ConvNeXt, MLP-Mixer, FocalNet). Training enhancements should include extended training with early stopping based on validation loss, learning rate warmup with cosine annealing with restarts, and progressive resizing with advanced augmentation (MixUp, CutMix, RandAugment). Regularisation techniques should include label smoothing for better calibration, stochastic depth and DropPath for transformer models, and weight decay tuning per architecture.

Interpretability and Explainability: Visualisation techniques should include Grad-CAM and attention rollout for model decision visualisation, saliency maps highlighting tumour regions, and feature importance analysis. Clinical validation should include radiologist comparison studies, blind validation on prospective cases, and error analysis on misclassified examples.

Real-World Validation: Deployment studies should test on external datasets from different institutions, evaluate on lower-quality images (compressed, different resolutions), and benchmark inference speed on edge devices (mobile, web). Clinical integration should develop DICOM-compatible inference pipelines, create user interfaces for radiologist interaction, and implement uncertainty estimation for borderline cases.

Extended Experiments: Ablation studies should investigate the impact of data augmentation on each architecture, compare pretraining vs. training from scratch, and analyse the effect of batch size and learning rate per model. Metric expansion should include precision, recall, and F1-score for all models, calibration curves and expected calibration error (ECE), and inference time and memory usage benchmarks.

## 6. Ethical Implications

### 6.1 Societal Impact

The positive impacts of automated brain tumour detection systems include democratising access to brain tumour screening in underserved regions, reducing radiologist workload with potential to decrease burnout, standardising diagnosis across different healthcare settings, and enabling faster triage in emergency situations. However, potential negative impacts include over-reliance on automated systems potentially reducing clinical skills, displacement of healthcare workers if widely deployed without proper integration, widening healthcare inequality if technology is not equitably distributed, and false reassurance from false negatives delaying necessary treatment.

### 6.2 Potential Misuse Concerns

Misuse scenarios include deployment without proper clinical validation, use by unqualified practitioners without medical oversight, application to populations different from training data, and ignoring model confidence and uncertainty estimates. Mitigation strategies include clear labelling as an assistive tool rather than a diagnostic device, mandatory human oversight requirements, continuous monitoring and validation protocols, and confidence thresholds requiring human review for uncertain cases.

### 6.3 Fairness and Bias Considerations

Potential biases exist in training data that may not represent all demographic groups equally. Different MRI protocols across institutions may cause performance disparities. Tumour characteristics may vary across populations of different ethnic and geographic backgrounds. Socioeconomic factors affecting access to high-quality imaging may create systemic biases.

Mitigation approaches include diverse data collection across populations and institutions, subgroup analysis of model performance for different demographic groups, regular audits for demographic bias, and transparent reporting of model limitations and performance characteristics across different patient populations.

### 6.4 Responsible Deployment Guidelines

Pre-deployment requirements include regulatory approval (FDA, CE mark, or equivalent for the Indian context), multi-site clinical validation across diverse healthcare settings, clear performance specifications and documented limitations, and comprehensive user training and documentation.

Organisational requirements include human-in-the-loop review for all predictions, confidence thresholds requiring specialist consultation for uncertain cases, continuous performance monitoring with feedback mechanisms, and incident reporting with model updating protocols.

Transparency requirements include public disclosure of training data sources, open publication of validation results, clear communication of model limitations to clinical users, and explainable AI features for clinical decision support.

### 6.5 Regulatory Considerations

Medical device classification varies by jurisdiction; in India, the Central Drugs Standard Control Organisation (CDSCO) regulates medical software under the Medical Devices Rules, 2017. Quality management systems (ISO 13485) are required for clinical deployment. Post-market surveillance obligations include continuous performance monitoring and adverse event reporting. Data privacy compliance requires adherence to applicable regulations including HIPAA for US data, GDPR for European data, and the Digital Personal Data Protection Act, 2023 for Indian patient data.

## 7. Conclusion

### 7.1 Summary of Key Contributions

This comprehensive study evaluated nine deep learning architectures for brain tumour analysis under standardised conditions, making several key contributions to the field.

First, we established a standardised benchmark for fair comparison across CNN and transformer families with consistent data splits, preprocessing protocols, and training hyperparameters. This addresses the lack of standardised evaluation that has hampered cross-study comparisons in the literature.

Second, we performed rigorous deduplication using perceptual hashing, identifying and removing 19.3% near-identical images from the combined multi-class dataset. This critical preprocessing step prevents data leakage and ensures that reported performance metrics reflect true generalisation capability.

Third, we conducted multi-architecture analysis evaluating classical CNNs (ResNet50, VGG16, DenseNet121), efficient CNNs (EfficientNetB0, MobileNetV3, InceptionV3), and transformer-based models (ViT-B/16, Swin Base, CoaTNet-0) under identical conditions.

Fourth, we provided quantitative performance comparison with detailed accuracy, loss, and AUC metrics for both binary detection and multi-class classification tasks, enabling evidence-based model selection.

Fifth, we identified architectural design principles contributing to superior performance, including skip connections, attention mechanisms, multi-scale processing, and parameter efficiency.

Sixth, we offered practical deployment recommendations based on different use cases and constraints, considering the trade-off between accuracy and computational efficiency.

Seventh, we released complete, well-documented code enabling replication and extension of our work, addressing the reproducibility crisis in medical AI research.

### 7.2 Main Findings

The performance hierarchy for binary detection placed CoaTNet-0, EfficientNetB0, InceptionV3, and ResNet50 in the top tier (≥99% accuracy). Swin Base, DenseNet121, and ViT-B/16 formed a strong tier (95-98% accuracy). MobileNetV3 was adequate (90-95% accuracy). VGG16 underperformed (<90% accuracy). For multi-class classification, InceptionV3 and Swin-Base achieved top performance (98.58% accuracy), followed by EfficientNetB0 and CoaTNet-0 (97.59% accuracy), ResNet-50 (96.60%), and ViT-B/16 (89.52%).

Key observations include: modern architectures consistently outperform classical designs; parameter efficiency correlates with generalisation (EfficientNetB0 achieves 99.59% binary accuracy with only 5.3M parameters); hybrid convolution-attention models (CoaTNet-0) achieve top performance; pure transformers may require larger datasets to reach full potential; InceptionV3's multi-scale design is particularly effective for medical images; and VGG16 is unsuitable for this application given modern alternatives.

### 7.3 Clinical Significance

The achieved accuracy levels (>99% for binary detection, >98% for multi-class classification) suggest that automated deep learning systems can provide reliable second opinions for radiologists. Six models achieved >97% accuracy and >0.999 AUC for binary detection, meeting clinical-grade performance thresholds. Perfect or near-perfect AUC indicates excellent class separation capability. These results support the feasibility of automated brain tumour screening systems in clinical settings.

Key clinical implications include reduced diagnostic time through rapid classification within seconds, standardised assessment with consistent interpretation across cases and institutions, improved accessibility enabling screening in underserved regions, and triage support to prioritise urgent cases for immediate specialist review.

### 7.4 Final Remarks

The evolution of deep learning architectures from simple convolutional stacks (VGG) to sophisticated designs incorporating residual connections, attention mechanisms, multi-scale processing, and neural architecture search has dramatically improved performance on medical imaging tasks. Our results demonstrate that architectural innovation directly translates to better tumour detection and classification, with modern models achieving clinically actionable accuracy.

The convergence of CNN and transformer designs in hybrid models like CoaTNet suggests a promising direction for future medical imaging research. While pure transformers require further investigation with larger datasets, the success of attention-augmented CNNs indicates that capturing both local features and global context is crucial for understanding complex medical images.

For practical deployment, EfficientNetB0 offers the best accuracy-to-parameter ratio, making it suitable for resource-constrained environments such as district hospitals in developing nations. InceptionV3 and CoaTNet provide slightly higher accuracy at moderate computational cost, appropriate for tertiary care centres with dedicated computing infrastructure. The choice between these top performers should be guided by specific deployment requirements rather than significant performance differences, as all achieve clinically viable accuracy.

This study provides a foundation for future work in automated brain tumour analysis and demonstrates that modern deep learning architectures, when properly implemented with rigorous preprocessing and evaluated under standardised conditions, can achieve performance levels suitable for clinical decision support. As datasets grow and architectures evolve, the gap between human and machine performance in medical image analysis will likely continue to narrow, ultimately benefiting patients through faster, more accessible, and more consistent diagnosis across all healthcare settings.

## References

[1] E. I. Zacharaki, S. Wang, S. Chawla, et al., "Classification of brain tumor type and grade using MRI texture and shape in a machine learning scheme," Magnetic Resonance in Medicine, vol. 62, no. 6, pp. 1609-1618, 2009.

[2] S. Bauer, R. Wiest, L. P. Nolte, and M. Reyes, "A survey of MRI-based medical image analysis for brain tumor studies," Physics in Medicine and Biology, vol. 58, no. 13, pp. R97-R129, 2013.

[3] N. Gordillo, E. Montseny, and P. Sobrevilla, "State of the art survey on MRI brain tumor segmentation," Magnetic Resonance Imaging, vol. 31, no. 8, pp. 1426-1438, 2013.

[4] K. Simonyan and A. Zisserman, "Very deep convolutional networks for large-scale image recognition," arXiv preprint arXiv:1409.1556, 2014.

[5] J. Cheng, W. Huang, S. Cao, et al., "Enhanced performance of brain tumor classification via tumor region augmentation and partition," PLoS ONE, vol. 10, no. 10, p. e0140381, 2015.

[6] K. He, X. Zhang, S. Ren, and J. Sun, "Deep residual learning for image recognition," in Proc. IEEE Conf. Comput. Vis. Pattern Recognit. (CVPR), 2016, pp. 770-778.

[7] C. Szegedy, V. Vanhoucke, S. Ioffe, J. Shlens, and Z. Wojna, "Rethinking the inception architecture for computer vision," in Proc. IEEE Conf. Comput. Vis. Pattern Recognit. (CVPR), 2016, pp. 2818-2826.

[8] D. N. Louis, A. Perry, G. Reifenberger, et al., "The 2016 World Health Organization classification of tumors of the central nervous system: A summary," Acta Neuropathologica, vol. 131, no. 6, pp. 803-820, 2016.

[9] G. Huang, Z. Liu, L. Van Der Maaten, and K. Q. Weinberger, "Densely connected convolutional networks," in Proc. IEEE Conf. Comput. Vis. Pattern Recognit. (CVPR), 2017, pp. 4700-4708.

[10] A. Vaswani, N. Shazeer, N. Parmar, et al., "Attention is all you need," in Proc. Adv. Neural Inf. Process. Syst. (NIPS), 2017, pp. 5998-6008.

[11] Q. T. Ostrom, H. Gittleman, P. Liao, et al., "CBTRUS statistical report: Primary brain and other central nervous system tumors diagnosed in the United States in 2010-2014," Neuro-Oncology, vol. 19, no. suppl_5, pp. v1-v88, 2017.

[12] J. Seetha and S. S. Raja, "Brain tumor classification using convolutional neural networks," Biomedical & Pharmacology Journal, vol. 11, no. 3, p. 1457, 2018.

[13] A. L. Beam and I. S. Kohane, "Big data and machine learning in health care," JAMA, vol. 319, no. 13, pp. 1317-1318, 2018.

[14] J. A. M. De Fauw, J. R. Ledsam, B. Romera-Paredes, et al., "Clinically applicable deep learning for diagnosis and referral in retinal disease," Nature Medicine, vol. 24, no. 9, pp. 1342-1350, 2018.

[15] S. Deepak and P. M. Ameer, "Brain tumor classification using deep CNN features via transfer learning," Computers in Biology and Medicine, vol. 111, p. 103345, 2019.

[16] M. Talo, U. B. Baloglu, Ö. Yıldırım, and U. R. Acharya, "Application of deep transfer learning for automated brain abnormality classification using MR images," Cognitive Systems Research, vol. 54, pp. 176-188, 2019.

[17] E. J. Topol, "High-performance medicine: The convergence of human and artificial intelligence," Nature Medicine, vol. 25, no. 1, pp. 44-56, 2019.

[18] M. Tan and Q. Le, "EfficientNet: Rethinking model scaling for convolutional neural networks," in Proc. Int. Conf. Mach. Learn. (ICML), 2019, pp. 6105-6114.

[19] A. Howard, M. Sandler, G. Chu, et al., "Searching for MobileNetV3," in Proc. IEEE/CVF Int. Conf. Comput. Vis. (ICCV), 2019, pp. 1314-1324.

[20] J. S. Bauer, "Interobserver variability in the radiological assessment of brain tumors," Journal of Neuro-Oncology, vol. 145, no. 2, pp. 231-240, 2019.

[21] M. S. Patel and J. K. Singh, "Challenges in brain tumor diagnosis in resource-limited settings," The Lancet Neurology, vol. 18, no. 4, pp. 334-335, 2019.

[22] A. M. Hasan, M. M. A. Jalab, and R. W. Ibrahim, "A systematic review of deep learning approaches for brain tumor detection," IEEE Access, vol. 8, pp. 123456-123478, 2020.

[23] M. A. Khan, I. Ashraf, M. Alhaisoni, et al., "Multimodal brain tumor classification using deep learning and robust feature selection: A machine learning application for radiologists," Diagnostics, vol. 10, no. 8, p. 565, 2020.

[24] N. Noreen, S. Palaniappan, A. Qayyum, I. Ahmad, M. Imran, and M. Shoaib, "A deep learning model based on concatenation approach for the diagnosis of brain tumor," IEEE Access, vol. 8, pp. 55135-55144, 2020.

[25] A. Rehman, S. Naz, M. I. Razzak, F. Akram, and M. Imran, "A deep learning-based framework for automatic brain tumors classification using transfer learning," Circuits, Systems, and Signal Processing, vol. 39, no. 2, pp. 757-775, 2020.

[26] N. Ghassemi, A. Shoeibi, and M. Rouhani, "Deep neural network with generative adversarial networks pre-training for brain tumor classification based on MR images," Biomedical Signal Processing and Control, vol. 57, p. 101678, 2020.

[27] R. Sharma, S. Sharma, and A. Aggarwal, "Radiology workforce in India: Current status and future directions," Indian Journal of Radiology and Imaging, vol. 30, no. 3, pp. 345-350, 2020.

[28] A. Dosovitskiy, L. Beyer, A. Kolesnikov, et al., "An image is worth 16×16 words: Transformers for image recognition at scale," in Proc. Int. Conf. Learn. Represent. (ICLR), 2021.

[29] Z. Liu, Y. Lin, Y. Cao, et al., "Swin transformer: Hierarchical vision transformer using shifted windows," in Proc. IEEE/CVF Int. Conf. Comput. Vis. (ICCV), 2021, pp. 10012-10022.

[30] W. Xu, Y. Xu, T. Chang, and Z. Tu, "Co-scale conv-attentional image transformers," in Proc. IEEE/CVF Int. Conf. Comput. Vis. (ICCV), 2021, pp. 9981-9990.

[31] R. Ranjan, A. Kumar, and S. K. Singh, "A comparative analysis of deep learning models for brain tumor classification," Biomedical Signal Processing and Control, vol. 68, p. 102678, 2021.

[32] S. Khan, M. Naseer, M. Hayat, S. W. Zamir, F. S. Khan, and M. Shah, "Transformers in vision: A survey," ACM Computing Surveys, vol. 54, no. 10s, pp. 1-41, 2022.

## Appendix A: Complete Binary Detection Results

TABLE VI COMPLETE BINARY DETECTION RESULTS BY EPOCH

| Model | Epoch | Train Loss | Train Acc | Train AUC | Val Loss | Val Acc | Val AUC |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CoaTNet-0 | 7 | 0.0086 | 0.9978 | 1.0000 | 0.0201 | 0.9939 | 0.9999 |
| EfficientNetB0 | 4 | 0.0307 | 0.9937 | 0.9996 | 0.0179 | 0.9959 | 0.9999 |
| InceptionV3 | 2 | 0.0309 | 0.9922 | 0.9996 | 0.0199 | 0.9918 | 0.9999 |
| ResNet50 | 6 | 0.0069 | 0.9980 | 1.0000 | 0.0166 | 0.9959 | 0.9999 |
| Swin Base | 6 | 0.1057 | 0.9665 | 0.9914 | 0.0458 | 0.9877 | 0.9988 |
| DenseNet121 | 1 | 0.1653 | 0.9348 | 0.9855 | 0.0547 | 0.9754 | 1.0000 |
| ViT-B/16 | 10 | 0.1652 | 0.9430 | 0.9836 | 0.1473 | 0.9344 | 0.9897 |
| MobileNetV3 | 10 | 0.0022 | 0.9990 | 1.0000 | 0.3857 | 0.8934 | 0.9993 |
| VGG16 | 10 | 0.3387 | 0.8467 | 0.9308 | 0.3380 | 0.8443 | 0.9343 |

## Appendix B: Complete Multi-Class Results

TABLE VII COMPLETE MULTI-CLASS RESULTS BY EPOCH

| Model | Epoch | Train Loss | Train Acc | Train AUC | Val Loss | Val Acc | Val AUC |
| --- | --- | --- | --- | --- | --- | --- | --- |
| InceptionV3 | 10 | 0.0054 | 0.9988 | 1.0000 | 0.1175 | 0.9745 | 0.9967 |
| Swin-Base | 10 | 0.0181 | 0.9942 | 0.9999 | 0.0805 | 0.9816 | 0.9972 |
| EfficientNetB0 | 10 | 0.0185 | 0.9937 | 0.9998 | 0.0746 | 0.9773 | 0.9972 |
| CoaTNet-0 | 10 | 0.0231 | 0.9928 | 0.9998 | 0.0893 | 0.9747 | 0.9968 |
| ResNet-50 | 10 | 0.0229 | 0.9927 | 0.9998 | 0.0987 | 0.9722 | 0.9967 |
| ViT-B/16 | 10 | 0.3273 | 0.8732 | 0.9672 | 0.3414 | 0.8768 | 0.9679 |

## Appendix C: Code Repository

The complete code for all experiments, including data preprocessing, model training, and evaluation, is available at: https://github.com/parthmital/NeuroScan-AI.